Original Certificate		Certificate reference

DOMESTIC ELECTRICAL INSTALLATION CERTIFICATE / (Requirements for Electrical Installations – BS 7671 IEE Wiring Regulations)

DETAILS OF THE CLEINT				ADDRESS OF THE INSTALLATION
Client and / address				Installation address
	Postcode:				Postcode:

DETAILS OF THE INSTALLATION			The installation is:
Extent of the installation work covered by this certificate				New
				An / addition
				An / alteration

DESIGN, CONSTRUCTION, INSEPCTION AND TESTING					The extent of liability of the signatory/signatories is limited to the work described above as the subject of this certificate. For the DESIGN, CONSTRUCTION, INSPECTION & TESTING of the installation.
I/we, being the person/s responsible for the design, construction, inspection and testing of the electrical installation (as indicated by my/our signature/s below, particulars of which are described above, having exercised reasonable skill and care when carrying out the design, construction, inspection and testing hereby Certify that the design, construction, inspection and testing work for which I/we have been responsible is, to the best of my/our knowledge and belief, in accordance with BS 7671: 2008 amended to N/A (date) except for the departures, if any, detailed as follows: / Details of departures from BS 7671:2008, as amended (Regulations 120.3.120.4)
				Signature			Name / (Capitals)				Date
				The results of the inspection and testing reviewed by
				Signature			Name / (Capitals				Date

PARTICULARS OF THE CONTRACTOR					NEXT INSPECTION			* Enter interval in terms of years, months, or weeks, as appropriate.
Trading / title					I RECOMMEND that this installation is further inspected and tested after an interval of not more than *

Address					COMMENTS ON EXISTING INSTALLATION					Additional information and report notes

		Telephone No					Postcode				SCHEDULE OF ADDITIONAL RECORDS					See attached schedule
Registration No: / (Essential information)					Branch No: / (if applicable)

SUPPLY CHARACTERISTICS AND EARTHING ARRANGEMENTS	Tick boxes and enter details, as appropriate / Nature of Supply Parameters
◊ System / Type(s) ◊ Number and Type of / Live Conductors NOTES: (1) by enquiry / (3) where more than one supply, the higher or highest values (2) by enquiry or by measurement ◊ Characteristics of Primary supply Overcurrent Protective Device(s) / TN-S / TN-C-S / TT 1-phase / (2 wire) 1-phase / (3 wire) / 2-phase / (3 wire) 3-phase / (4 wire) / other Nominal Voltage U (1) V Nominal frequency f (1) Hz / U (1) V External earth fault loop impedance Ze (3/4) Ω / Single-phase Prospective fault current (2/3) kA 3- phase Prospective fault current (2/3) kA BS(EN) / Type / Rated current A Short-circuit capacity kA

PARTICULARS OF INSTALLATION AT THE ORIGIN					Tick boxes and enter details, as appropriate					Measured Ze					Ω	Main Switch or circuit-Breaker
Means of earthing			Details of installation Earth Electrode (where applicable)					Maximum / demand : (load)					kVA/ / Amps				Type / BS(EN)					Voltage / rating			V
Distributor's facility			Type: / (eg rod(s), tape, etc)					Location:					Number of smoke alarms					No of poles					Rated / Current			A
Installation earth electrode			Electrode / resistance, RA:					Ω	Method of measurement:					Protective measures for fault protection					Supply / conductor / material:				RCD operating current In				mA
Earthing conductor					Main protective bonding conductors and bonding of extraneous conductive parts ()
Conductor / material:					Conductor / material:					Conductor / csa:					Water / service					Oil service					Supply conductor / csa:			mm2		RCD operating time / (at In)			ms
Conductor / csa:				mm2	Continuity check (√)				Location: / (where not obvious)					Gas / service			Structural / steel					Other service

SCHEDULE OF ITEMS TESTED			Note: All boxes must be completed
		External earth loop impedance, Ze			Polarity		Protection by separation of circuits
		Installation earth electrode resistance, Ra			Earth fault loop impedance Zs		Other (*Please note below)
		Continuity of protective conductors			Verification of phase sequence	* Further notes for items tested, if applicable
		Continuity of ring final circuit conductors			Operation of residual current device(s)
		Insulation resistance between live conductors			Functional testing of assemblies
		Insulation resistance between live conductors and earth			Verification of voltage drop

SCHEDULE OF ITEMS INSPECTED					Note: All boxes must be completed
	Protective measures against electric shock					Additional protection				Cables and conductors
	Basic and fault protection
	Extra low voltage / Double or reinforced insulation					SELV				Presence of residual current devices(s)				Selection of of conductors for current carrying capacity and voltage drop
		Double or reinforced insulation					Presence of supplementary bonding conductors				Erection methods
	Basic protection					Prevention of mutual detrimental influences					Routing of cables in prescribed zones

		Insulation of live parts					Barriers and enclosures		Proximity of non-electrical services / and other influences				Cables incorporating earthed armour, sheath or run in an earthed wiring system, or otherwise protected against nails, screws and the like
	Fault protection					Segregation of band I and band II circuits or / band II insulation used				Additional protection by 30mA RCD (where required in premises not under the supervision of skilled or instructed persons)

	Automatic disconnected of supply					Segregation of safety circuits				Connection of conductors
		Presence of earthing conductors					Identification					Presence of fire barriers, suitable seals and protection against thermal effects
		Presence of circuit protection conductors					Presence of diagrams, instructions, circuit / charts and similar information			General
		Presence of main protective bonding conductors					Presence of danger notices				Presence and correct location of / appropriate devices for isolation and switching
		Choice and setting of protective devices (for fault protect and/or overcurrent)					Presence of other warning notices, / including presence of mixed wiring colours				Adequacy of access to switchgear and / other equipment
	Electrical separation					Labelling of protective devices, switches / and terminals				Particular protective measures for / special installations and locations
		For one item of current -using equipment					Identification of conductors				Connection of single pole devices for protection / or switching in line conductors only
				Correct connection of accessories and equipment
	√	To indicate that an inspection or test has been carried out and the result is satisfactory					N/V	To indicate that details could not be verified				Selection of equipment and protective / measures appropriate to external influences
	X	To indicate that an inspection or test has been carried out and the result was unsatisfactory					N/A	To indicate the inspection or test is not applicable				Selection of appropriate functional / switching devices

TEST INSTRUMENTS USED

	Earth fault loop impedance			Insulation resistance

	Continuity			RCD

	Other			Other

#### NOTES FOR RECIPIENT

THIS CERTIFICATE IS A VALUABLE DOCUMENT AND SHOULD BE RETAINED FOR FUTURE REFERENCE

This safety certificate has been issued to confirm that the electrical installation work to which it relates has been designed, constructed and inspected and tested in accordance with British Standard 7671 (The IEE Wiring regulations).

You should have received an original Certificate and the contractor should have retained a duplicate Certificate. If you were the person ordering the work, but not the owner of the installation, you should pass this Certificate, or a full copy of it including the schedules immediately to the user.

The original certificate should be retained in a safe place and be shown to any person inspecting or undertaking further work on the electrical installation in the future. If you later vacate the property, this Certificate will demonstrate to the new owner that the electrical installation complied with the requirements of British Standard 7671 at the time the Certificate was issued was issued. The Construction (Design and Management) Regulations require that for a project covered by those Regulations, a copy of this Certificate, together with schedules is included in the health and safety documentations.

For safety reasons, the electrical installation will need to be inspected at appropriate intervals by a competent person. The maximum time interval recommended before the next inspection is stated in the Certificate under “Next Inspection.”

This Certificate is intended to be issued only for a new electrical installation or for new work associated with an alteration or addition to a existing installation. It should not have been issued for the inspection of an existing electrical installation. A “Periodic Inspection Report” should be issued for such a periodic inspection.

The Certificate is only valid if a Schedule of Inspection of Test Results is appended.

DISTRIBUTION BOARD DETAILS
DB ref.:			Zs at this board (Ω):		Ipf at this board (KA):		Main switch type / BSEN reference:				Rating:	Amps		Supply conductors:		mm2	Earth:	mm2

Distribution board location:					Supplied from:					No. Of phases:		Supply protective device type: / BSEN reference:				Rating:	Amps
CIRCUIT DETAILS					TEST RESULTS

Circuit Reference	Circuit designation	Type of wiring	Reference method	Number of points served	Circuit conductors / Live (mm2) cpc (mm2)	Max.Disconnection time permitted (s)	Overcurrent devices RCD / Type BS EN Rating (A) Short circuit capacity (KA) IΔn mA	Maximum permitted Zs Ω	Circuit impedances Ω Insulation resistance / Ring final circuits only (Measured end to end) All circuits (At least one column to be completed) / r1 rn r2 R1 + R2 R2 Phase /Phase M Ω Phase /Neutral M Ω Phase /Earth M Ω Neutral /Earth M Ω	Polarity	Maximum Measured Zs Ω	RCD / At IΔn ms At 5 x IΔn ms

CODES FOR TYPES OF WIRING
A	B	C	D	E	F	G	H	O (other please state)
PVC/PVC / CABLES	PVC CABLES IN METALLIC CONDUIT	PVC CABLES IN NON-METALIC CONDUIT	PVC CABLES IN METALIC TRUNKING	PVC CABLES IN NON-METALIC TRUNKING	PVC/SWA CABLES	XLPE/SWA CABLES	MINERAL-INSULATED CABLES