Original Certificate		Certificate reference:

				ELECTRICAL INSTALLATION CERTIFICATE / (Requirements for Electrical Installations – BS 7671 IEE Wiring Regulations)

DETAILS OF THECLIENT

Client/ / Address:

DETAILS OF THE INSTALLATION

Address:					New

Extent of the installation covered by this Certificate:					An / Addition / An / Alteration

DESIGN
I/We, being the person(s) responsible for the design of the electrical installation (as indicated by my/our signature(s) below, particulars of which are described above, having exercised reasonable skill and care when carrying out the design, hereby Certify that the design work for which I/We have been responsible is, to the best of my/our knowledge and belief, in accordance with BS 7671:2008 amended to Amendment 3:2015 except for the departures, if any, detailed as follows:
Details of departures from BS 7671, as amended (Regulations 120.3.120.4)
The extent of liability of the signatory/signatories is limited to the work described above as the subject of this certificate. For the DESIGN of the installation: / ** (Where there is divided responsibility for the design)
Signature					Date				Name / (CAPITALS)				Designer 1

Signature					Date				Name / (CAPITALS)				Designer 2 **

CONSTRUCTION
I/We, being the person(s) responsible for the construction of the electrical installation (as indicated by my/our signature(s) below, particulars of which are described above, having exercised reasonable skill and care when carrying out the construction, hereby Certify that the construction work for which I/We have been responsible is, to the best of my/our knowledge and belief, in accordance with BS 7671:2008 amended to Amendment 3:2015 except for the departures, if any, detailed as follows:
Details of departures from BS 7671, as amended (Regulations 120.3.120.4)
The extent of liability of the signatory is limited to the work described above as the subject of this certificate. / For the CONSTRUCTION of the installation:
Signature					Date				Name / (CAPITALS)				Constructor

INSPECTION AND TESTING
I/We, being the person(s) responsible for the inspection and testing of the electrical installation (as indicated by my/our signature(s) below, particulars of which are described above, having exercised reasonable skill and care when carrying out the inspection and testing, hereby Certify that the inspection and testing work for which I/We have been responsible is, to the best of my/our knowledge and belief, in accordance with BS 7671:2008 amended to Amendment 3:2015 except for the departures, if any, detailed as follows:
Details of departures from BS 7671, as amended (Regulations 120.3.120.4)
The extent of liability of the signatory is limited to the work described above as the subject of this certificate. / For the INSPECTION AND TESTING of the installation:
Signature					Date				Name / (CAPITALS)				INSPECTOR
Reviewed by
Signature					Date				Name / (CAPITALS)				Qualified / Supervisor

DESIGN, CONSTRUCTION, INSPECTION AND TESTING				* This box is to be completed only where the design, construction, inspection and testing have been the responsibility of one person.
I, being the person responsible for the design, construction, inspection and testing of the electrical installation (as indicated by my signature below), particulars of which are described above, having exercised reasonable skill and care when carrying out the design, construction, inspection and testing, hereby CERTIFY that the inspection and testing work for which I have been responsible is, to the best of my knowledge and belief, in accordance with BS 7671:2008 amended to Amendment 3:2015 except for the departures, if any, detailed as follows:
Details of departures from BS 7671, as amended (Regulations 120.3.120.4)
The extent of liability of the signatory is limited to the work described above as the subject of this certificate. / For the DESIGN, CONSTRUCTION, and the INSPECTION AND TESTING of the installation.
Signature		Date			Name / (CAPITALS)			INSPECTOR
Reviewed by
Signature		Date			Name / (CAPITALS)			Qualified / Supervisor

PATICULARS OF THE ORGANISATION(S) RESPONSIBLE FOR THE ELECTRICAL INSTALLATION

DESIGN (1) Organisation

Address:		Registration No. / (Where appropriate) / Branch number / (If applicable)

DESIGN (2) Organisation

Address:		Registration No. / (Where appropriate) / Branch number / (If applicable)

CONSTRUCTION Organisation

Address:		Registration No. / (Where appropriate) / Branch number / (If applicable)

INSPECTION & TESTING Organisation

Address:		Registration No. / (Where appropriate) / Branch number / (If applicable)

SUPPLY CHARACTERISTICS AND EARTHING ARRANGEMENTS

System Types Number and types of live conductors Nature of supply Parameters / TN-S A.C. D.C. Nominal Voltage U/Uo Volts

TN-C-S			1-Phase 2 wire		1-Phase / 3 wire			2 pole			Nominal Frequency		Hz

TN-C			2-Phase 3 wire					3 pole			Prospective fault current		kA

TT			3-Phase 3 wire		3-Phase / 4 wire			Other			External Ze		Ohms

IT			Other					Number of supplies

CHARACTERISTICS OF THE SUPPLY OVERCURRENT PROTECTIVE DEVICE

Type BS/EN		Nominal current rating		Amps	Short circuit capacity			KA

PARTICULARS OF INSTALLATION AT THE ORIGIN

Means of earthing					Details of installation Earth Electrode (where applicable)
Supplier’s facility					Type: / (e.g. rods, tape ect)					Location

Installation earth electrode					Electrode resistance, RA					Ohms				Method of measurement

Maximum Demand (Load) Per phase					Amps					Method of protection against indirect contact					EEBADS

Main Switch or circuit-Breaker

Type / BSEN					No. Of poles					Voltage rating					V			Current rating					A			RCD In					mA	RCD at In					mS
Supply conductors

Conductor material					Conductor csa					mm2
Earthing conductors

Conductor material					Conductor csa					mm2			Continuity check					() OK
Main equipotential bonding conductors

Conductor material					Conductor csa					mm2			Continuity check					() OK
Bonding of extraneous conductive parts ()

Water service				Gas service					Oil service					Structural steel					Lightning protection					Other services					List in report notes

COMMENTS ON THE EXISTING INSTALLATION
Additional information and report notes Note: Enter 'NONE' or, where appropriate, the page number(s) of additional page(s) of comments on the existing installation.

NEXT INSPECTION
I/We the designer(s), recommend that this installation is further inspected and tested after an interval of not more than

SCHEDULE OF ITEMS INSPECTED

		PROTECTIVE MEASURES AGAINST ELECTRIC SHOCK				Prevention of mutual detrimental influences

		Basic and fault protection				Proximity of non-electrical services and other influences

		SELV				Segregation of band I and band II circuits or band II insulation used

		PELV				Segregation of safety circuits

		Basic protection				Identification

		Insulation of live parts				Presence of diagrams, instructions, circuit charts and similar information

		Barriers and enclosures				Presence of danger notices and other warning signs

		Obstacles				Labelling of protective devices, switches and terminals

		Placing out of reach				Identification of conductors

		Double or Reinforced insulation				Cables and conductors

		Fault Protection (Automatic disconnection of supply)				Selection of conductors for current-carrying capacity and volt drop

		Presence of earthing conductors				Erection methods

		Presence of circuit protection conductors				Routing of cables in prescribed zones

		Presence of main equipotential conductors				Cables incorporating earthed armour or sheath or run in an earthed wiring system or protected against nails, screws and the like

		Presence of earthing arrangements for combined protective and functional purposes				Additional protection by a 30mA for cables concealed in walls (where required in premises not under the supervision of skilled or instructed persons

		Presence of adequate arrangements for alternative sources(s), where applicable				Connection of conductors

		PELV				Presence of fire barriers, suitable seals and protection against thermal effects

		Choice and setting of protective and monitoring devices				General / Adequacy of access to switchgear and other equipment

		Non-conducting location: / Absence of protective conductors				Presence and correct location of appropriate devices for isolation and switching

		Earth free equipotential bonding: / Presence of earth free equipotential bonding conductors				Particular protective measures for special installations and locations

		Electrical separation / for one item of current using equipment				Connection of single pole devices for protection or switching in phase conductors only

		Electrical separation / for more than one item of current using equipment				Correct connection of accessories and equipment

		Additional protection / (For use in controlled supervised conditions only)				Presence of under voltage protective devices

		Presence of residual current device(s)				Selection of equipment and protective measures appropriate to external influences

		Presence of supplementary bonding conductors				Selection of appropriate functional switching devices

√	To indicate that an inspection or test has been carried out and the result is satisfactory

X	To indicate that an inspection or test has been carried out and the result was unsatisfactory

LIM	To indicate that an inspection or test has not been carried out following agreed limitations of inspection or testing

N/A	To indicate the inspection or test is not applicable

N/V	To indicate that details could not be verified

SCHEDULE OF ITEMS TESTED

		External earth loop impedance, Ze				Basic protection against direct contact by barrier or enclosure provided during erection

		Installation earth electrode resistance, Ra				Insulation of non-conducting floors or walls

		Continuity of protective conductors				Polarity

		Continuity of ring circuit conductors				Earth fault loop impedance Zs

		Insulation resistance between live conductors				Verification of phase sequence

		Insulation resistance between live conductors and earth				Operation of residual current devices

		Protection by separation of circuits				Functional testing of assemblies

					Verification of voltage drop

SCHEDULE OF ADDITIONAL RECORDS (See attached schedule)
Note: Additional page(s) must be identified by the Electrical Installation Certificate serial number and page number(s).
Page No(s) :

TEST INSTRUMENTS USED

	Instrument Serial No(s)

	Earth fault loop impedance

	Insulation resistance

	Continuity

	RCD

	Other

#### NOTES FOR RECIPIENT

THIS CERTIFICATE IS A VALUABLE DOCUMENT AND SHOULD BE RETAINED FOR FUTURE REFERENCE

This safety certificate has been issued to confirm that the electrical installation work to which it relates has been designed, constructed and inspected and tested in accordance with British Standard 7671 (The IEE Wiring regulations).

You should have received an original Certificate and the contractor should have retained a duplicate Certificate. If you were the person ordering the work, but not the owner of the installation, you should pass this Certificate, or a full copy of it including the schedules immediately to the user.

The original certificate should be retained in a safe place and be shown to any person inspecting or undertaking further work on the electrical installation in the future. If you later vacate the property, this Certificate will demonstrate to the new owner that the electrical installation complied with the requirements of British Standard 7671 at the time the Certificate was issued was issued. The Construction (Design and Management) Regulations require that for a project covered by those Regulations, a copy of this Certificate, together with schedules is included in the health and safety documentations.

For safety reasons, the electrical installation will need to be inspected at appropriate intervals by a competent person. The maximum time interval recommended before the next inspection is stated in the Certificate under “Next Inspection.”

This Certificate is intended to be issued only for a new electrical installation or for new work associated with an alteration or addition to a existing installation. It should not have been issued for the inspection of an existing electrical installation. A “Periodic Inspection Report” should be issued for such a periodic inspection.

The Certificate is only valid if a Schedule of Inspection of Test Results is appended.

DISTRIBUTION BOARD DETAILS
DB ref.:			Zs at this board (Ω):		Ipf at this board (KA):		Main switch type / BSEN reference:				Rating:	Amps		Supply conductors:		mm2	Earth:	mm2

Distribution board location:					Supplied from:					No. Of phases:		Supply protective device type: / BSEN reference:				Rating:	Amps
CIRCUIT DETAILS					TEST RESULTS

Circuit Reference	Circuit designation	Type of wiring	Reference method	Number of points served	Circuit conductors / Live (mm2) cpc (mm2)	Max.Disconnection time permitted (s)	Overcurrent devices RCD / Type BS EN Rating (A) Short circuit capacity (KA) IΔn mA	Maximum permitted Zs Ω	Circuit impedances Ω Insulation resistance / Ring final circuits only (Measured end to end) All circuits (At least one column to be completed) / r1 rn r2 R1 + R2 R2 Phase /Phase M Ω Phase /Neutral M Ω Phase /Earth M Ω Neutral /Earth M Ω	Polarity	Maximum Measured Zs Ω	RCD / At IΔn ms At 5 x IΔn ms

CODES FOR TYPES OF WIRING
A	B	C	D	E	F	G	H	O (other please state)
PVC/PVC / CABLES	PVC CABLES IN METALLIC CONDUIT	PVC CABLES IN NON-METALIC CONDUIT	PVC CABLES IN METALIC TRUNKING	PVC CABLES IN NON-METALIC TRUNKING	PVC/SWA CABLES	XLPE/SWA CABLES	MINERAL-INSULATED CABLES